PERMIT TO WORK — ELECTRICAL ISOLATION Lock-Out / Tag-Out · Confirmed Dead · Isolation Certificate

| Valid From: | Valid Until: | Created By: | Permit #: |
| --- | --- | --- | --- |

| High-Risk Task(s) Covered by this Permit — Check All That Apply |  |  |  |
| --- | --- | --- | --- |
| ☐ Hot Work | ☐ Work at Height | ☐ Plant Isolation | ☐ Other (specify): |
| ☐ Confined Space | ☐ Live Electricity | ☐ Excavation |  |

| General Information |  |
| --- | --- |
| Project Name: |  |
| Client: |  |
| Contractor / Department: |  |
| Supervisor-in-Charge: |  |
| Description of Work: | Isolation of electrical system(s) for maintenance, testing, or repair. System confirmed dead before work. LOTO applied throughout. |
| Applicable Standards: | Electricity at Work Regulations 1989; IET Wiring Regulations BS 7671:2018; HSE GS38 |

| Pre-Job Conditions & Requirements |  |
| --- | --- |
| Equipment / Tools Used: | Insulated tools (IEC 60900), calibrated voltage test instrument, LOTO padlocks and hasps, isolation tags, insulating mat, arc-flash rated PPE, safety barrier tape |
| PPE Required: | Arc-flash rated face shield and PPE (appropriate CAT level); insulating gloves (Class 00 minimum); insulating mat; steel toe-cap boots; hard hat |
| Additional Permits Required: | Isolation Certificate; COSHH if cleaning solvents used |

| Identified Hazards |  |
| --- | --- |
| ☐ Electric shock from live conductors or equipment | ☐ Arc flash / arc blast — burns and blast overpressure |
| ☐ Fire or explosion from electrical fault or short circuit | ☐ Stored energy in capacitors, UPS systems, or batteries |
| ☐ Inadvertent re-energisation by others during work | ☐ Secondary injury — falls or burns from unexpected release |

| Safety Controls & Precautions |  |
| --- | --- |
| ☐ Isolation point(s) identified, locked out, and tagged | ☐ Voltage test instrument calibrated and proved on known supply |
| ☐ System confirmed dead — test before touch procedure followed | ☐ Isolation certificate issued and displayed at isolator |
| ☐ Authorised Person (AP) and Competent Person (CP) identified | ☐ Stored energy discharged or secured before work commences |
| ☐ Insulated tools and appropriate arc-flash PPE in use throughout |  |

| Emergency Procedure |  |
| --- | --- |
| In the event of emergency: | Do not touch a person in contact with live electricity. Isolate the supply at the mains if safe to do so. Call 999 immediately. Do not approach the casualty until the supply is confirmed isolated. Administer CPR if trained and safe. Report to assembly point and notify the permit authoriser. |

| Pre-Authorisation Checks — Electrical Isolation |  |
| --- | --- |
| ☐ Isolation confirmed at all relevant supply points | ☐ Equipment tested dead with calibrated test instrument |
| ☐ LOTO devices applied — padlocks and tags in place | ☐ Isolation certificate signed and displayed |
| ☐ Stored energy sources identified and discharged / secured | ☐ All personnel briefed on isolation boundaries and limits |

| Permit Request |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Role | Name | Signature | Date |
| Requested By: |  |  |  |  |

| Permit Approvals |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Role | Name | Signature | Date |
| Approved by: | Site Safety Manager |  |  |  |
|  | Area Supervisor |  |  |  |

| Worker Log & Sign On / Off |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name (First & Last) | Designation | Certs / Accreditations | Sign-On Date | Signature | Sign-Off Date | Signature |

| Permit Extension |  |  |  |  |
| --- | --- | --- | --- | --- |
| Valid From | Valid Until | Approved By | Signature | Date |

| Permit Withdrawal / Close-Out |  |
| --- | --- |
| Work Status: | ☐ Completed ☐ Suspended ☐ Cancelled / Withdrawn |
| Inspected By: |  |
| Signature: |  |
| Approved By: |  |
| Signature: |  |

Complete in full before work commences. Retain on site for duration. Keep completed permits ≥ 3 years.  © Hyper Mode Ltd / PermitDesk — permitdesk.io