PERMIT TO WORK — HOT WORK Welding · Cutting · Grinding

| Valid From: | Valid Until: | Created By: | Permit #: |
| --- | --- | --- | --- |

| High-Risk Task(s) Covered by this Permit — Check All That Apply |  |  |  |
| --- | --- | --- | --- |
| ☐ Hot Work | ☐ Work at Height | ☐ Plant Isolation | ☐ Other (specify): |
| ☐ Confined Space | ☐ Live Electricity | ☐ Excavation |  |

| General Information |  |
| --- | --- |
| Project Name: |  |
| Client: |  |
| Contractor / Department: |  |
| Supervisor-in-Charge: |  |
| Description of Work: | Hot work activities: welding, cutting, and/or grinding. Combustibles cleared within 3 metres. Fire watch for duration + 60 min post-completion. |
| Applicable Standards: | DSEAR 2002; Regulatory Reform (Fire Safety) Order 2005; BS 6266:2011 |

| Pre-Job Conditions & Requirements |  |
| --- | --- |
| Equipment / Tools Used: | Welding machine / oxy-acetylene torch, angle grinder, flashback arrestors, fire-resistant blankets, dry powder & CO₂ extinguisher, gas detector (LEL/O₂), welding helmet (ADF), FFP3 respirators, leather gauntlets |
| PPE Required: | Welding helmet with ADF; FFP3 respirator; chrome leather gauntlet gloves; flame-resistant overalls; welding apron; steel toe-cap boots |
| Additional Permits Required: | COSHH Assessment for Welding Fume; Fire Watch Authorization |

| Identified Hazards |  |
| --- | --- |
| ☐ Fire / ignition of nearby combustible materials | ☐ Explosion from flammable gases or vapours |
| ☐ Burns from hot surfaces, sparks, and spatter | ☐ Inhalation of welding fumes and toxic gases |
| ☐ Eye injury from UV radiation / arc flash | ☐ Uncontrolled heat spread causing structural damage |

| Safety Controls & Precautions |  |
| --- | --- |
| ☐ Permit issued and authorised before work commences | ☐ Combustibles removed or shielded within 3-metre radius |
| ☐ Fire extinguisher positioned and confirmed serviceable | ☐ Continuous gas monitoring — audible LEL/O₂ alarm active |
| ☐ Local exhaust ventilation (LEV) in use where required | ☐ Fire watch in place for duration + 60 min post-completion |
| ☐ All workers briefed on hazards and emergency procedures |  |

| Emergency Procedure |  |
| --- | --- |
| In the event of fire: | Raise the alarm immediately. Evacuate the area and call 999. Do not attempt to fight fire unless trained and safe to do so. Assemble at the designated muster point and notify the permit authoriser. |

| Pre-Authorisation Checks — Hot Works |  |
| --- | --- |
| ☐ Area cleared of combustibles within 3 metres | ☐ Fire extinguisher present, charged, and accessible |
| ☐ Fire watch arranged — duration + 60 min post-completion | ☐ Hot work area inspected and approved by supervisor |
| ☐ Gas / fuel / ignition sources isolated or removed | ☐ Emergency procedures communicated to all personnel |

| Permit Request |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Role | Name | Signature | Date |
| Requested By: |  |  |  |  |

| Permit Approvals |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Role | Name | Signature | Date |
| Approved by: | Site Safety Manager |  |  |  |
|  | Area Supervisor |  |  |  |

| Worker Log & Sign On / Off |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name (First & Last) | Designation | Certs / Accreditations | Sign-On Date | Signature | Sign-Off Date | Signature |

| Permit Extension |  |  |  |  |
| --- | --- | --- | --- | --- |
| Valid From | Valid Until | Approved By | Signature | Date |

| Permit Withdrawal / Close-Out |  |
| --- | --- |
| Work Status: | ☐ Completed ☐ Suspended ☐ Cancelled / Withdrawn |
| Inspected By: |  |
| Signature: |  |
| Approved By: |  |
| Signature: |  |

Complete in full before work commences. Retain on site for duration. Keep completed permits ≥ 3 years.  © Hyper Mode Ltd / PermitDesk — permitdesk.io