PERMIT TO WORK — LIFTING OPERATIONS LOLER 1998 · Lift Plan · Appointed Person Designated

| Valid From: | Valid Until: | Created By: | Permit #: |
| --- | --- | --- | --- |

| High-Risk Task(s) Covered by this Permit — Check All That Apply |  |  |  |
| --- | --- | --- | --- |
| ☐ Hot Work | ☐ Work at Height | ☐ Plant Isolation | ☐ Other (specify): |
| ☐ Confined Space | ☐ Live Electricity | ☐ Excavation |  |

| General Information |  |
| --- | --- |
| Project Name: |  |
| Client: |  |
| Contractor / Department: |  |
| Supervisor-in-Charge: |  |
| Description of Work: | Lifting operation using crane, hoist, or other lifting equipment where there is foreseeable risk to persons from the load, equipment, or working environment. Lift plan reviewed and Appointed Person designated before work commences. |
| Applicable Standards: | Lifting Operations and Lifting Equipment Regulations (LOLER) 1998; PUWER 1998; BS 7121 (Safe Use of Cranes); LEEA Standards |

| Pre-Job Conditions & Requirements |  |
| --- | --- |
| Equipment / Tools Used: | Crane / MEWP / telehandler / chain hoist; certified lifting accessories (slings, shackles, hooks, spreader beams); load chart; outrigger mats; banksman tabard and signalling equipment; anemometer; exclusion zone barriers and signage |
| PPE Required: | Hard hat (EN 397); high-visibility vest; safety footwear; gloves; banksman hi-viz tabard; safety glasses if load aloft near face |
| Additional Permits Required: | Working at Height Permit if persons beneath lift zone; Ground Works Permit if outrigger ground conditions assessed |

| Identified Hazards |  |
| --- | --- |
| ☐ Load falling from height — crush or fatal injury to persons below | ☐ Structural failure of lifting equipment or accessories |
| ☐ Crane or equipment overturning — ground conditions or overload | ☐ Collision with overhead power lines or nearby structures |
| ☐ Persons entering the load path or exclusion zone during lift | ☐ Adverse weather — wind gusts causing loss of load control |

| Safety Controls & Precautions |  |
| --- | --- |
| ☐ Lift plan reviewed and approved by Appointed Person before work starts | ☐ Lifting equipment and accessories inspected — current LOLER certificates confirmed |
| ☐ Ground bearing capacity assessed; outrigger mats sized and positioned correctly | ☐ Exclusion zone established and signed — no persons in load path during lift |
| ☐ Overhead power lines / obstacles identified; safe clearances confirmed | ☐ Wind speed monitored — operations suspended above equipment rated limit |
| ☐ Banksman and signaller designated; signals agreed before first lift |  |

| Emergency Procedure |  |
| --- | --- |
| In the event of emergency: | In the event of a dropped load or equipment failure: clear the area immediately and call 999. Do not approach the load, equipment, or any person in contact with it. Notify the Appointed Person and permit authoriser immediately. Preserve the scene — do not move equipment or accessories until the incident investigation is complete. |

| Pre-Authorisation Checks — Lifting Operations |  |
| --- | --- |
| ☐ Lift plan reviewed and signed by Appointed Person | ☐ Lifting equipment and all accessories checked — LOLER certificates on site |
| ☐ Ground bearing capacity assessed — outrigger mats correctly positioned | ☐ Exclusion zone established and all non-essential persons clear of lift zone |
| ☐ Wind speed checked and confirmed within equipment rated operating limit | ☐ Banksman in position; two-way communication with operator confirmed |

| Permit Request |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Role | Name | Signature | Date |
| Requested By: |  |  |  |  |

| Permit Approvals |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Role | Name | Signature | Date |
| Approved by: | Site Safety Manager |  |  |  |
|  | Area Supervisor |  |  |  |

| Worker Log & Sign On / Off |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name (First & Last) | Designation | Certs / Accreditations | Sign-On Date | Signature | Sign-Off Date | Signature |

| Permit Extension |  |  |  |  |
| --- | --- | --- | --- | --- |
| Valid From | Valid Until | Approved By | Signature | Date |

| Permit Withdrawal / Close-Out |  |
| --- | --- |
| Work Status: | ☐ Completed ☐ Suspended ☐ Cancelled / Withdrawn |
| Inspected By: |  |
| Signature: |  |
| Approved By: |  |
| Signature: |  |

Complete in full before work commences. Retain on site for duration. Keep completed permits ≥ 3 years.  © Hyper Mode Ltd / PermitDesk — permitdesk.io